## Title
ATTACHMENT 19
THE LIST OF SERVICES FOR THE IMPLEMENTATION OF MEASURES TO ENSURE SAVINGS

## I.
I. MEASURES REQUIRED BY THE CONCESSION GRANTOR TO ENSURE SAVINGS
General requirements:
1. All preparation measures must be executed in accordance with the applicable standards and regulations.
2. The concessionaire must execute and maintain the measures during the contract period in accordance with the applicable standards and regulations.
3. The concessionaire must not, by his actions, lower the standard of thermal comfort (indoor temperature, humidity, ventilation rate) and the stipulated levels of lighting for each type of building (educational facilities, medical facilities, etc.). If these conditions were not achieved before the implemented measures, it is necessary to take this into account in the adjusted quantities.
4. Where the reference values of energy consumption are only estimated and metering has not yet been implemented, the concessionaire must install metering devices by the date defined in the contract.
5. After the completion of the preparation services, the concessionaire must submit the following documents to the concession grantor:
- functional description of the executed service
- list of built-in furniture and equipment
- technical information, information about devices and apparatuses, required certificates
- report on any measurement
- as-built design and maintenance and operation design
6. The concessionaire must provide a training and education course for the concession grantor, building managers, and users.
7. The concessionaire must reconcile the execution time of each measure with the building manager.
8. The concession grantor has the right to inspect the preparation work of the concessionaire at any time.

## OB 1
Contractual energy savings
Basic information about the building
Building name: | Vrtec Miškolin, enota Rjava cesta I (Kindergarten)
Address: | Rjava cesta 1
Floor area m2: | 1355
Type of energy product: | District heating
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 289521 | 68444
€ | 17969 | 9506
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.062065
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.13889
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 2
Contractual energy savings
Basic information about the building
Building name: | Vrtec Jelka, enota Palčki (Kindergarten)
Address: | Lavričeva ulica 5a
Floor area m2: | 720
Type of energy product: | District heating
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 97100 | 36861
€ | 6668 | 5622
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.068671
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.15252
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 3
Contractual energy savings
Basic information about the building
Building name: | Vrtec Otona Župančiča, enota Živ žav (Kindergarten)
Address: | Na peči 20
Floor area m2: | 1243
Type of energy product: | District heating
Reference energy consumption and associated costs (HE average from the year 2012 to 2014, EE for the year 2014)
Type of energy / unit | Heating energy | Electrical energy
kWh | 172553 | 49563
€ | 11702 | 7817
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.067817
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.15772
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 4
Contractual energy savings
Basic information about the building
Building name: | Vrtec Viški vrtci, enota Na Jamovi (Kindergarten)
Address: | Jamova cesta 23
Floor area m2: | 1172
Type of energy product: | District heating
Reference energy consumption and associated costs (HE average from the year 2012 to 2014, EE for the year 2014)
Type of energy / unit | Heating energy | Electrical energy
kWh | 235297 | 92248
€ | 14243 | 12686
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.060532
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.13752
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 5
Contractual energy savings
Basic information about the building
Building name: | Vrtec Ciciban, enota Ajda (Kindergarten)
Address: | Ulica prvoborcev 16
Floor area m2: | 1792
Type of energy product: | District heating
Reference energy consumption and associated costs (HE average from the year 2012 to 2014, EE for the year 2014)
Type of energy / unit | Heating energy | Electrical energy
kWh | 296950 | 103441
€ | 20862 | 13472
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.070254
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.13024
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 6
Contractual energy savings
Basic information about the building
Building name: | Vrtec Najdihojca, enota Biba (Kindergarten)
Address: | Ljubeljskega ulica 16
Floor area m2: | 2090
Type of energy product: | District heating
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 300850.53 | 131855.67
€ | 20022.42 | 19948.06
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.066553
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.15129
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 7
Contractual energy savings
Basic information about the building
Building name: | Vrtec Pod gradom, oddelek Stara Ljubljana (Kindergarten)
Address: | Ulica na Grad 2a
Floor area m2: | 975
Type of energy product: | Natural gas
Reference energy consumption and associated costs (HE and EE for 2013)
Type of energy / unit | Heating energy | Electrical energy
kWh | 131473 | 67507
€ | 8126 | 9691
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.061807
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.14356
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 8
Contractual energy savings
Basic information about the building
Building name: | MU MOL (City administration)
Address: | Prušnikova 99
Floor area m2: | 822
Type of energy product: | Natural gas
Reference energy consumption and associated costs (HE and EE for 2013)
Type of energy / unit | Heating energy | Electrical energy
kWh | 64691 | 20125.67
€ | 5860 | 2768
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.090584
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.13754
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 9
Contractual energy savings
Basic information about the building
Building name: | MU MOL (City administration)
Address: | Savlje 101
Floor area m2: | 770
Type of energy product: | Natural gas
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 37283.3 | 274
€ | 1296.58 | 296.18
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.034776
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 1.0809
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 10
Contractual energy savings
Basic information about the building
Building name: | MU MOL (City administration)
Address: | Dunajska cesta 367
Floor area m2: | 1032
Type of energy product: | ELFO in storage heaters
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 155896 | 13806
€ | 11917 | 3575
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.076442
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.25895
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 11
Contractual energy savings
Basic information about the building
Building name: | MU MOL (City administration)
Address: | Bratovševa ploščad 30
Floor area m2: | 494
Type of energy product: | District heating
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 52097.33 | 18118.67
€ | 3651.37 | 2372.71
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.070087
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.13095
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 12
Contractual energy savings
Basic information about the building
Building name: | Osnovna šola Hinka Smrekarja (Primary school)
Address: | Gorazdova ulica 16, 1000 Ljubljana
Floor area m2: | 5227
Type of energy product: | District heating
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 564670 | 170241
€ | 41199.377 | 17759.888
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.072962
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.10432
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 13
Contractual energy savings
Basic information about the building
Building name: | Osnovna šola Mirana Jarca (Primary school)
Address: | Ipavčeva ulica 1, Ljubljana
Floor area m2: | 4884
Type of energy product: | District heating
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 423800 | 142862
€ | 33608 | 17071
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.079302
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.11949
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 14
Contractual energy savings
Basic information about the building
Building name: | Osnovna šola Vodmat (Primary school)
Address: | Potrčeva ulica 1, Ljubljana
Floor area m2: | 3611
Type of energy product: | District heating
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 625570 | 85292
€ | 44969 | 10170.323
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.071885
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.11924
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 15
Contractual energy savings
Basic information about the building
Building name: | Osnovna šola Oskarja Kovačiča - Rudnik (Primary school)
Address: | Rudnik I 6, Ljubljana
Floor area m2: | 811.4
Type of energy product: | Fuel oil
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 13307 | 14706
€ | 8547 | 1870
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.64229
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.12716
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 16
Contractual energy savings
Basic information about the building
Building name: | Osnovna šola dr. Vita Kraigherja (Primary school)
Address: | Trg 9.maja 1, Ljubljana
Floor area m2: | 5053
Type of energy product: | District heating
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 793040 | 152857
€ | 58860 | 21315
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.074221
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.13944
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 17
Contractual energy savings
Basic information about the building
Building name: | Osnovna šola Poljane (Primary school)
Address: | Zemljemerska ulica 7
Floor area m2: | 5044
Type of energy product: | District heating
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 762000 | 111974
€ | 53889 | 10855
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.07072
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.096942
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 18
Contractual energy savings
Basic information about the building
Building name: | Osnovna šola Bičevje (Primary school)
Address: | Splitska ulica 13
Floor area m2: | 6650
Type of energy product: | Natural gas
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 646894.62 | 172267.67
€ | 39309.14 | 21885.84
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.060766
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.12705
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 19
Contractual energy savings
Basic information about the building
Building name: | Osnovna šola Ledina (Primary school)
Address: | Komenskega ulica 19
Floor area m2: | 3757
Type of energy product: | District heating
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 452471 | 84425
€ | 30271 | 9903
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.066902
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.1173
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 20
Contractual energy savings
Basic information about the building
Building name: | Večnamenska dvorana Kodeljevo in bazen (Sports hall)
Address: | Ulica Carla Benza 11
Floor area m2: | 4819
Type of energy product: | Natural gas
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 100000 | 200140
€ | 6101.33 | 18855.53
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.061013
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.094212
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 21
Contractual energy savings
Basic information about the building
Building name: | Športna dvorana Krim (Sports hall)
Address: | Ob dolenjski železnici 50
Floor area m2: | 2645
Type of energy product: | Natural gas
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 174866.67 | 150017.57
€ | 10786.68 | 23377.73
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.061685
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.15583
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 22
Contractual energy savings
Basic information about the building
Building name: | Vrtec Galjevica, enota Galjevica (Kindergarten)
Address: | Galjevica 35
Floor area m2: | 1252.2
Type of energy product: | Natural gas
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 228746.66 | 59313.67
€ | 15442.54 | 8730.21
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.067509
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.14719
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 23
Contractual energy savings
Basic information about the building
Building name: | Osnovna šola Oskarja Kovačiča (Primary school)
Address: | Ob dolenjski železnici 48
Floor area m2: | 2552
Type of energy product: | Natural gas
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 490816 | 264183.07
€ | 21241.89 | 28262.85
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.043279
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.10698
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%

## OB 24
Contractual energy savings
Basic information about the building
Building name: | Bivša podružnična šola Šentjakob (Culture)
Address: | Zajčeva pot 34
Floor area m2: | 303
Type of energy product: | Natural gas
Reference energy consumption and associated costs
Type of energy / unit | Heating energy | Electrical energy
kWh | 82944 | 376
€ | 2860 | 206
List of measures with a description of each measure
Cost of the proposed measures without VAT
VAT |  | 0
Cost of the proposed measures with VAT |  | 0
Projected energy consumption for heating in kWh:
Guaranteed savings in energy consumption for heating in kWh: |  | 0
Heating costs in €/kWh: |  | 0.034481
Projected energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in €: |  | 0
Guaranteed savings in energy consumption for heating in %: |  | 0%
Projected electrical energy consumption in kWh:
Costs of electrical energy in €/kWh: |  | 0.54787
Guaranteed electrical energy savings in kWh: |  | 0
Guaranteed electrical energy savings in %: |  | 0%
Guaranteed electrical energy savings in €: |  | 0
Guaranteed cumulative energy savings in € |  | 0
Cumulative current net value of savings in € |  | 0
Calculation of current net value:
year | CNV | TOTAL
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0
7 | 0 | 0
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
TOTAL CNV: |  | 0
discount rate | 4%